## Sec7-2out
Std140_TF_Class2_Results.xls, sheet "TF_Class2_Output"
|  |  | Software name: | Pinocchio-EP / EnergyPlus 26.1 |  | Enter the name and version number of the software being tested in Cell E3 (merged cells);
use abbreviation if needed, so that name of tested software fits well on the charts
|  |  | Organizations submitting results: | ERGO Energy LLP |  | Enter the name of the organization submitting results in Cell E5 (merged cells)
Results: |  | Instructions: Enter test case results as specified in Sections 12.3.1 and 12.3.2 next to test case name in yellow cells, for heating and cooling seasons for the entire year or some other reasonable
length as defined by the tool being tested in units of million Btu; see row 31 for season entry instructions. (Note, currently shown load values are automatically calculated
average values of example results (average of subsets of results for L302A - L324A); simply overwrite those formulas when entering values for the tested program.)
Tier 1 Test Cases: | [5 empty] | Tier 2 Test Cases
| Heating Cases: |  |  | Cooling Cases: |  |  | Heating Cases: |  |  | Cooling Cases:
|  | Heating Load |  |  | Cooling Load |  |  | Heating Load |  |  | Cooling Load
|  | (Million Btu) |  |  | (Million Btu) |  |  | (Million Btu) |  |  | (Million Btu)
| L100AC | 52.09 |  | L100AL | 47.79 |  | L165AC | 56.87 |  | L165AL | 48.69
| L110AC | 77.77 |  | L110AL | 51.09 |  | P100AC |  |  | P100AC
| L120AC | 39.67 |  | L120AL | 43.76 |  | P105AC |  |  | P105AC
| L130AC | 42.29 |  | L130AL | 35.24 |  | P110AC |  |  | P110AC
| L140AC | 49.39 |  | L140AL | 22.66 |  | P140AC |  |  | P140AC
| L150AC | 44.05 |  | L150AL | 59.9 |  | P150AC |  |  | P150AC
| L155AC | 46.85 |  | L155AL | 45.09
| L160AC | 52.81 |  | L160AL | 57.13
| L170AC | 62.96 |  | L170AL | 38.72
| L200AC | 131.29 |  | L200AL | 59.88
| L202AC | 136.97 |  | L202AL | 50.17
| L302AB | 60.75
| L304AB | 50.02
| L322AB | 70.67
| L324AB | 52.3
Seasons: |  | Instructions: Enter first and last Julian date (365 day year) for each season in yellow cells. | [6 empty] | Example Seasons:
| Heating: | First day | Last day | [5 empty] | Heating: | 2008-09-05 | 2008-04-10
|  | 1 | 365 | [6 empty] | 248 | 100
| Cooling: | First day | Last day | [5 empty] | Cooling: | 2008-05-10 | 2008-09-15
|  | 1 | 365 | [6 empty] | 131 | 258
Statistics: |  | Instructions: select confidence interval from pull down list and enter
minimum range for criteria range bands
| Conf.Interval: | 90%
| min range: | 4 | 10^6 Btu
| t_c | n | 80% | 90% | 95%
|  | 3 | 1.886 | 2.92 | 4.303

## Tables_B20
Example Results Seasonal Loads
Table B20-1. HERS BESTEST Tier-1 Example Results – Annual or Seasonal Heating Loads (10^6 Btu/y) for Colorado Springs, CO
| Example Results: |  |  |  | Statistics:
| Test Case | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
L100AC
L110AC
L120AC
L130AC
L140AC
L150AC
L155AC
L160AC
L170AC
L200AC
L202AC
L302AC
L302BC
L304AC
L304BC
L322A1
L322A2
L322B1
L322B2
L324A1
L324A2
L324B1
L324B2
** ABS [(max - min) / (mean of Example Results)]
Table B20-2. HERS BESTEST Tier-1 Example Results – Delta Annual or Seasonal Heating Loads (10^6 Btu/y) for Colorado Springs, CO
| Example Results: |  |  |  | Statistics:
| Test Case Delta | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
L110AC-L100AC
L120AC-L100AC
L130AC-L100AC
L140AC-L100AC
L150AC-L100AC
L155AC-L150AC
L160AC-L100AC
L170AC-L100AC
L200AC-L100AC
L202AC-L200AC
L302AC-L100AC
L302BC-L100AC
L302AC-L304AC
L302BC-L304BC
L322A1-L100AC
L322A2-L100AC
L322B1-L100AC
L322B2-L100AC
L322A1-L324A1
L322A2-L324A2
L322B1-L324B1
L322B2-L324B2
** ABS [(max - min) / (mean of Example Results)]
Table B20-3. HERS BESTEST Tier-1 Example Results – Annual or Seasonal Sensible Cooling Loads (10^6 Btu/y) for Las Vegas, NV
| Example Results: |  |  |  | Statistics:
| Test Case | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
L100AL
L110AL
L120AL
L130AL
L140AL
L150AL
L155AL
L160AL
L170AL
L200AL
L202AL
** ABS [(max - min) / (mean of Example Results)]
Table B20-4. HERS BESTEST Tier-1 Example Results – Delta Annual or Seasonal Sensible Cooling Loads (10^6 Btu/y) for Las Vegas, NV
| Example Results: |  |  |  | Statistics:
| Test Case Delta | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
L110AL-L100AL
L120AL-L100AL
L130AL-L100AL
L140AL-L100AL
L150AL-L100AL
L155AL-L150AL
L160AL-L100AL
L170AL-L100AL
L200AL-L100AL
L202AL-L200AL
** ABS [(max - min) / (mean of Example Results)]
Table B20-5. HERS BESTEST Tier-2 Example Results – Annual or Seasonal Heating Loads (10^6 Btu/y) for Colorado Springs, CO
| Example Results: |  |  |  | Statistics:
| Test Case | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
** ABS [(max - min) / (mean of Example Results)]
Table B20-6. HERS BESTEST Tier-2 Example Results – Delta Annual or Seasonal Heating Loads (10^6 Btu/y) for Colorado Springs, CO
| Example Results: |  |  |  | Statistics:
| Test Case Delta | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
L165AC-L160AC
P105AC-P100AC
P110AC-P100AC
P140AC-P100AC
P150AC-P100AC
** ABS [(max - min) / (mean of Example Results)]
Table B20-7. HERS BESTEST Tier-2 Example Results – Annual or Seasonal Sensible Cooling Loads (10^6 Btu/y) for Las Vegas, NV ("AL") and Colorado Springs, CO ("AC")
| Example Results: |  |  |  | Statistics:
| Test Case | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
** ABS [(max - min) / (mean of Example Results)]
Table B20-8. HERS BESTEST Tier-2 Example Results – Delta Annual or Seasonal Sensible Cooling Loads (10^6 Btu/y) for Las Vegas, NV ("AL") and Colorado Springs, CO ("AC")
| Example Results: |  |  |  | Statistics:
| Test Case Delta | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
L165AL-L160AL
P105AC-P100AC
P110AC-P100AC
P140AC-P100AC
P150AC-P100AC
** ABS [(max - min) / (mean of Example Results)]

## BLAST-HtgRes
| Table B20-9. BLAST 3.0 Monthly and Total Heating Loads (million Btu) | [23 empty] | Table B20-10. BLAST 3.0 Monthly and Total Heating Loads (million Btu)
|  | L100AC | L110AC | L120AC | L130AC | L140AC | L150AC | L155AC | L160AC | L170AC | L200AC | L202AC | L302AC | L302BC | L304AC | L304BC | L322A1 | L322A2 | L322B1 | L322B2 | L324A1 | L324A2 | L324B1 | L324B2 |  | L165AC | P100AC | P105AC | P110AC | P140AC | P150AC
1 | Jan | 11.3 | 15.27 | 9.34 | 8.72 | 8.96 | 9.61 | 9.69 | 11.94 | 12.68 | 22.73 | 23.21 | 12.52 | 12.22 | 10.86 | 10.5 | 16.19 | 16.41 | 15.72 | 16.37 | 11.91 | 11.99 | 11.16 | 11.26 | Jan | 12.63 | 2.44 | 2.45 | 4.2 | 5.68 | 5.44
2 | Feb | 9.74 | 13.21 | 8.07 | 7.5 | 7.79 | 8.54 | 8.8 | 9.99 | 11 | 19.74 | 20.19 | 10.81 | 10.87 | 9.37 | 9.34 | 14.05 | 14.26 | 14.02 | 14.54 | 10.29 | 10.36 | 9.84 | 10.14 | Feb | 10.63 | 2.41 | 2.61 | 3.88 | 4.98 | 4.68
3 | Mar | 9.04 | 12.41 | 7.43 | 6.9 | 7.39 | 8.23 | 8.87 | 8.76 | 10.39 | 18.86 | 19.37 | 10.11 | 9.96 | 8.7 | 8.51 | 13.25 | 13.46 | 12.9 | 13.56 | 9.53 | 9.61 | 8.87 | 9.3 | Mar | 9.33 | 2.23 | 3.04 | 3.63 | 4.67 | 3.87
4 | Apr | 5.17 | 7.28 | 4.16 | 3.81 | 4.24 | 5.13 | 5.75 | 4.7 | 6.26 | 11.52 | 11.93 | 5.92 | 5.35 | 5.01 | 4.58 | 7.82 | 7.96 | 6.62 | 7.39 | 5.42 | 5.45 | 4.43 | 4.96 | Apr | 4.95 | 1.29 | 2.18 | 2.15 | 2.48 | 1.67
5 | May | 2.43 | 3.66 | 1.84 | 1.63 | 1.89 | 2.54 | 2.79 | 2.17 | 3.3 | 6.33 | 6.57 | 2.99 | 2.13 | 2.42 | 1.75 | 3.95 | 3.96 | 2.18 | 2.9 | 2.49 | 2.46 | 1.36 | 1.88 | May | 2.29 | 0.36 | 0.62 | 0.81 | 0.8 | 0.36
6 | Jun | 0.69 | 1.2 | 0.46 | 0.4 | 0.47 | 0.76 | 0.82 | 0.6 | 1.11 | 2.55 | 2.65 | 1.01 | 0.44 | 0.73 | 0.34 | 1.29 | 1.2 | 0.38 | 0.58 | 0.66 | 0.62 | 0.22 | 0.38 | Jun | 0.63 | 0.05 | 0.09 | 0.18 | 0.15 | 0.03
7 | Jul | 0.06 | 0.2 | 0.02 | 0.01 | 0.02 | 0.07 | 0.08 | 0.05 | 0.23 | 0.79 | 0.83 | 0.19 | 0 | 0.09 | 0 | 0.21 | 0.15 | 0 | 0 | 0.03 | 0.02 | 0 | 0 | Jul | 0.05 | 0 | 0 | 0 | 0 | 0
8 | Aug | 0.13 | 0.34 | 0.05 | 0.04 | 0.04 | 0.13 | 0.17 | 0.11 | 0.37 | 1.16 | 1.22 | 0.31 | 0 | 0.17 | 0 | 0.35 | 0.27 | 0 | 0 | 0.09 | 0.06 | 0 | 0 | Aug | 0.12 | 0 | 0 | 0 | 0 | 0
9 | Sep | 1.2 | 1.92 | 0.82 | 0.7 | 0.79 | 1.1 | 1.25 | 1.13 | 1.8 | 3.68 | 3.8 | 1.62 | 0.68 | 1.25 | 0.48 | 2.05 | 1.96 | 0.28 | 0.79 | 1.18 | 1.09 | 0.15 | 0.56 | Sep | 1.2 | 0 | 0 | 0.13 | 0.11 | 0
10 | Oct | 3.46 | 5.03 | 2.66 | 2.38 | 2.71 | 2.95 | 3.12 | 3.5 | 4.46 | 8.36 | 8.6 | 4.18 | 3.09 | 3.45 | 2.52 | 5.39 | 5.36 | 3.22 | 4.18 | 3.56 | 3.47 | 2.03 | 2.72 | Oct | 3.78 | 0.23 | 0.27 | 0.75 | 1.28 | 0.5
11 | Nov | 8.18 | 11.21 | 6.7 | 6.23 | 6.66 | 6.86 | 6.99 | 8.71 | 9.5 | 17.12 | 17.54 | 9.16 | 8.94 | 7.87 | 7.61 | 11.96 | 12.16 | 11.61 | 12.22 | 8.63 | 8.68 | 7.98 | 8.35 | Nov | 9.37 | 1.11 | 1.15 | 2.68 | 4.13 | 3.45
12 | Dec | 10.54 | 14.22 | 8.72 | 8.03 | 8.19 | 9.01 | 9.06 | 11.24 | 11.96 | 21.13 | 21.56 | 11.68 | 11.56 | 10.13 | 9.96 | 15.14 | 15.34 | 14.89 | 15.44 | 11.12 | 11.2 | 10.55 | 10.85 | Dec | 11.86 | 2.19 | 2.19 | 3.96 | 5.14 | 5.1
| Tot | 61.94 | 85.93 | 50.27 | 46.34 | 49.14 | 54.92 | 57.38 | 62.88 | 73.06 | 133.97 | 137.46 | 70.48 | 65.25 | 60.06 | 55.59 | 91.66 | 92.5 | 81.82 | 87.97 | 64.9 | 65.02 | 56.57 | 60.4 | Tot | 66.84 | 12.31 | 14.59 | 22.38 | 29.4 | 25.1
Seasonal Values: | [24 empty] | Tier 2 Results
Htg_Coeff
1
2
3
4
5
6
7
8
9
10
11
12
Tot

## BLAST-ClgRes
| Table B20-11. BLAST 3.0 Monthly and Total Sensible Cooling Loads (million Btu) | [11 empty] | Table B20-12. BLAST 3.0 Monthly and Total Sensible Cooling Loads (million Btu)
|  | L100AL | L110AL | L120AL | L130AL | L140AL | L150AL | L155AL | L160AL | L170AL | L200AL | L202AL |  | L165AL | P100AC | P105AC | P110AC | P140AC | P150AC
1 | Jan | 0.07 | 0.03 | 0.08 | 0 | 0 | 1.91 | 1.55 | 0.01 | 0.03 | 0.01 | 0 | Jan | 0 | 0.62 | 0.62 | 2.17 | 0 | 0
2 | Feb | 0.38 | 0.24 | 0.41 | 0.06 | 0 | 2.39 | 1.58 | 0.22 | 0.22 | 0.21 | 0.1 | Feb | 0.07 | 0.17 | 0.14 | 1.42 | 0 | 0
3 | Mar | 1.44 | 1.15 | 1.46 | 0.55 | 0.07 | 3.35 | 1.69 | 1.58 | 1.01 | 1.04 | 0.69 | Mar | 1.01 | 0.03 | 0 | 1.09 | 0 | 0
4 | Apr | 2.18 | 1.92 | 2.16 | 1.16 | 0.36 | 2.78 | 1.16 | 3.16 | 1.6 | 1.83 | 1.42 | Apr | 2.38 | 0.25 | 0 | 0.91 | 0 | 0.16
5 | May | 5.85 | 6.02 | 5.55 | 3.9 | 2.14 | 5.51 | 4.3 | 7.59 | 4.76 | 6.56 | 5.81 | May | 6.53 | 0.48 | 0.03 | 1.27 | 0 | 0.48
6 | Jun | 9.43 | 10.26 | 8.72 | 6.72 | 4.61 | 8.71 | 7.85 | 11.41 | 8.1 | 11.96 | 10.99 | Jun | 10.26 | 2.05 | 1.34 | 2.55 | 0.21 | 2.42
7 | Jul | 12.16 | 13.62 | 11.15 | 8.84 | 6.57 | 11.51 | 10.69 | 13.98 | 10.67 | 16.4 | 15.44 | Jul | 12.92 | 3.1 | 2.33 | 3.47 | 0.65 | 3.46
8 | Aug | 10.87 | 12.01 | 10.02 | 7.85 | 5.65 | 11.18 | 9.19 | 12.31 | 9.41 | 14.21 | 13.26 | Aug | 11.28 | 3.7 | 2.02 | 4.15 | 0.53 | 3.25
9 | Sep | 7.76 | 8.24 | 7.33 | 5.35 | 3.32 | 9.33 | 7.08 | 8.4 | 6.51 | 9.21 | 8.44 | Sep | 7.4 | 3.59 | 2 | 4.4 | 0.29 | 2.01
10 | Oct | 3.92 | 3.79 | 3.84 | 2.36 | 0.8 | 6.76 | 5.43 | 3.59 | 3.13 | 3.89 | 3.24 | Oct | 2.75 | 3.29 | 2.68 | 4.64 | 0 | 0.65
11 | Nov | 0.6 | 0.43 | 0.63 | 0.17 | 0 | 3.08 | 2.55 | 0.37 | 0.39 | 0.39 | 0.22 | Nov | 0.17 | 0.58 | 0.54 | 2.33 | 0 | 0
12 | Dec | 0 | 0 | 0.01 | 0 | 0 | 1.22 | 1.02 | 0 | 0 | 0 | 0 | Dec | 0 | 0.25 | 0.24 | 1.79 | 0 | 0
| Tot | 54.66 | 57.7 | 51.34 | 36.95 | 23.52 | 67.72 | 54.08 | 62.61 | 45.83 | 65.7 | 59.61 | Tot | 54.77 | 18.11 | 11.95 | 30.18 | 1.67 | 12.42
Seasonal Values: | [12 empty] | Tier 2 Results
Clg_Coeff
1
2
3
4
5
6
7
8
9
10
11
12
Tot

## DOE-HtgRes
| Table B20-13. DOE-2.1E Monthly and Total Heating Loads (million Btu) | [23 empty] | Table B20-14. DOE-2.1E Monthly and Total Heating Loads (million Btu)
|  | L100AC | L110AC | L120AC | L130AC | L140AC | L150AC | L155AC | L160AC | L170AC | L200AC | L202AC | L302AC | L302BC | L304AC | L304BC | L322A1 | L322A2 | L322B1 | L322B2 | L324A1 | L324A2 | L324B1 | L324B2 |  | L165AC | P100AC | P105AC | P110AC | P140AC | P150AC
1 | Jan | 10.58 | 14.39 | 8.46 | 8.56 | 8.67 | 8.63 | 8.73 | 11.11 | 12.3 | 22.72 | 23.56 | 11.93 | 11.37 | 10.21 | 9.68 | 15.43 | 15.3 | 15.03 | 15.54 | 11.18 | 11.18 | 10.28 | 9.92 | Jan | 12.14 | 2.04 | 2.12 | 3.71 | 5.14 | 4.94
2 | Feb | 9.04 | 12.35 | 7.23 | 7.28 | 7.46 | 7.62 | 7.8 | 9.17 | 10.58 | 19.67 | 20.46 | 10.24 | 9.88 | 8.73 | 8.34 | 13.3 | 13.24 | 13.08 | 13.48 | 9.56 | 9.58 | 8.87 | 8.6 | Feb | 10.14 | 1.9 | 2.01 | 3.44 | 4.45 | 4.17
3 | Mar | 8.32 | 11.55 | 6.59 | 6.67 | 7.01 | 7.31 | 7.8 | 7.88 | 9.96 | 18.83 | 19.74 | 9.54 | 8.95 | 8.05 | 7.47 | 12.53 | 12.48 | 11.92 | 12.39 | 8.8 | 8.82 | 7.8 | 7.71 | Mar | 8.89 | 1.8 | 2.32 | 3.27 | 4.09 | 3.42
4 | Apr | 4.79 | 6.83 | 3.67 | 3.73 | 3.98 | 4.61 | 5.12 | 4.3 | 6.11 | 11.65 | 12.33 | 5.64 | 4.85 | 4.69 | 3.96 | 7.47 | 7.38 | 6.12 | 6.7 | 5.05 | 4.99 | 3.72 | 4.21 | Apr | 4.83 | 1.05 | 1.73 | 1.98 | 2.06 | 1.47
5 | May | 2.27 | 3.51 | 1.6 | 1.67 | 1.76 | 2.36 | 2.67 | 2.03 | 3.33 | 6.63 | 7 | 2.89 | 1.91 | 2.3 | 1.48 | 3.9 | 3.67 | 2.09 | 2.6 | 2.37 | 2.21 | 0.99 | 1.6 | May | 2.36 | 0.33 | 0.63 | 0.81 | 0.58 | 0.34
6 | Jun | 0.66 | 1.19 | 0.4 | 0.45 | 0.48 | 0.76 | 0.85 | 0.57 | 1.19 | 2.83 | 3 | 0.99 | 0.41 | 0.73 | 0.3 | 1.36 | 1.12 | 0.38 | 0.53 | 0.67 | 0.56 | 0.12 | 0.33 | Jun | 0.7 | 0.05 | 0.11 | 0.19 | 0.09 | 0.03
7 | Jul | 0.06 | 0.21 | 0.02 | 0.02 | 0.02 | 0.08 | 0.1 | 0.05 | 0.28 | 0.96 | 1.04 | 0.17 | 0 | 0.09 | 0 | 0.26 | 0.14 | 0 | 0 | 0.05 | 0.03 | 0 | 0 | Jul | 0.08 | 0 | 0 | 0 | 0 | 0
8 | Aug | 0.13 | 0.35 | 0.05 | 0.07 | 0.05 | 0.13 | 0.19 | 0.12 | 0.45 | 1.37 | 1.46 | 0.3 | 0 | 0.18 | 0 | 0.43 | 0.25 | 0 | 0.01 | 0.12 | 0.06 | 0 | 0 | Aug | 0.16 | 0 | 0 | 0 | 0 | 0
9 | Sep | 1.17 | 1.93 | 0.71 | 0.81 | 0.81 | 1 | 1.3 | 1.13 | 1.91 | 4.07 | 4.26 | 1.6 | 0.68 | 1.24 | 0.45 | 2.14 | 1.83 | 0.36 | 0.85 | 1.18 | 0.98 | 0.06 | 0.51 | Sep | 1.3 | 0 | 0.01 | 0.14 | 0.06 | 0
10 | Oct | 3.33 | 4.93 | 2.36 | 2.5 | 2.63 | 2.67 | 3.05 | 3.38 | 4.55 | 8.83 | 9.2 | 4.11 | 3.01 | 3.36 | 2.33 | 5.41 | 5.06 | 3.32 | 4.27 | 3.47 | 3.23 | 1.57 | 2.51 | Oct | 3.75 | 0.22 | 0.29 | 0.7 | 1.02 | 0.48
11 | Nov | 7.63 | 10.56 | 6 | 6.1 | 6.39 | 6.11 | 6.38 | 7.97 | 9.22 | 17.15 | 17.88 | 8.74 | 8.19 | 7.39 | 6.86 | 11.41 | 11.34 | 10.95 | 11.56 | 8.07 | 8.07 | 7.13 | 7.01 | Nov | 8.89 | 0.86 | 1.02 | 2.34 | 3.66 | 3.04
12 | Dec | 10.02 | 13.59 | 8.01 | 7.98 | 7.99 | 8.2 | 8.31 | 10.58 | 11.77 | 21.41 | 22.13 | 11.29 | 10.87 | 9.67 | 9.25 | 14.62 | 14.51 | 14.47 | 14.94 | 10.59 | 10.6 | 9.84 | 9.48 | Dec | 11.49 | 1.77 | 1.86 | 3.59 | 4.67 | 4.69
| Tot | 58 | 81.36 | 45.08 | 45.82 | 47.24 | 49.47 | 52.28 | 58.28 | 71.64 | 136.12 | 142.06 | 67.43 | 60.12 | 56.62 | 50.11 | 88.27 | 86.33 | 77.71 | 82.87 | 61.1 | 60.31 | 50.38 | 51.88 | Tot | 64.72 | 10.02 | 12.1 | 20.19 | 25.82 | 22.58
Seasonal Values: | [24 empty] | Tier 2 Results
Htg_Coeff
1
2
3
4
5
6
7
8
9
10
11
12
Tot

## DOE-ClgRes
| Table B20-15. DOE-2.1E Monthly and Total Sensible Cooling Loads (million Btu) | [11 empty] | Table B20-16. DOE-2.1E Monthly and Total Sensible Cooling Loads (million Btu)
|  | L100AL | L110AL | L120AL | L130AL | L140AL | L150AL | L155AL | L160AL | L170AL | L200AL | L202AL |  | L165AL | P100AC | P105AC | P110AC | P140AC | P150AC
1 | Jan | 0.24 | 0.1 | 0.24 | 0.02 | 0 | 2.94 | 2.5 | 0.05 | 0.1 | 0.08 | 0 | Jan | 0 | 1.19 | 1.12 | 2.8 | 0 | 0
2 | Feb | 0.83 | 0.54 | 0.83 | 0.19 | 0 | 3.59 | 2.81 | 0.5 | 0.49 | 0.54 | 0.23 | Feb | 0.11 | 0.47 | 0.39 | 2.13 | 0 | 0
3 | Mar | 2.24 | 1.8 | 2.13 | 0.9 | 0.13 | 4.55 | 3.01 | 2.41 | 1.56 | 1.79 | 0.99 | Mar | 1.1 | 0.21 | 0.03 | 1.54 | 0 | 0
4 | Apr | 2.98 | 2.62 | 2.83 | 1.57 | 0.54 | 3.82 | 2.03 | 4.16 | 2.15 | 2.59 | 1.72 | Apr | 2.48 | 0.43 | 0.13 | 1.34 | 0 | 0.27
5 | May | 6.5 | 6.71 | 6.03 | 4.39 | 2.55 | 6.01 | 4.46 | 8.51 | 5.13 | 7.46 | 6.13 | May | 6.39 | 0.73 | 0.1 | 1.56 | 0 | 0.81
6 | Jun | 9.88 | 10.84 | 8.97 | 7.26 | 5.14 | 8.74 | 7.79 | 11.98 | 8.21 | 12.71 | 11.1 | Jun | 9.74 | 2.18 | 1.4 | 2.69 | 0.44 | 2.75
7 | Jul | 12.64 | 14.29 | 11.42 | 9.49 | 7.15 | 11.76 | 10.61 | 14.52 | 10.75 | 17.18 | 15.68 | Jul | 12.32 | 3.51 | 2.45 | 3.86 | 1.09 | 3.92
8 | Aug | 11.41 | 12.71 | 10.37 | 8.47 | 6.19 | 11.58 | 9.15 | 12.92 | 9.58 | 15.03 | 13.48 | Aug | 10.79 | 4.14 | 2.09 | 4.55 | 0.91 | 3.71
9 | Sep | 8.46 | 9.03 | 7.89 | 5.91 | 3.76 | 10.35 | 6.69 | 9 | 6.92 | 10.2 | 8.91 | Sep | 7.14 | 4.31 | 1.91 | 5.15 | 0.4 | 2.56
10 | Oct | 4.57 | 4.47 | 4.37 | 2.76 | 1.08 | 7.73 | 5.26 | 4.15 | 3.58 | 4.79 | 3.67 | Oct | 2.66 | 3.94 | 2.4 | 5.31 | 0 | 1.01
11 | Nov | 0.99 | 0.7 | 0.99 | 0.29 | 0 | 4.13 | 3.04 | 0.49 | 0.6 | 0.72 | 0.33 | Nov | 0.14 | 1.28 | 1.03 | 3.11 | 0 | 0
12 | Dec | 0.06 | 0.01 | 0.07 | 0 | 0 | 2.15 | 1.71 | 0 | 0.01 | 0.01 | 0 | Dec | 0 | 0.62 | 0.56 | 2.44 | 0 | 0
| Tot | 60.8 | 63.83 | 56.14 | 41.26 | 26.54 | 77.35 | 59.06 | 68.68 | 49.06 | 73.1 | 62.24 | Tot | 52.88 | 23.03 | 13.63 | 36.49 | 2.84 | 15.03
Seasonal Values: | [12 empty] | Tier 2 Results
Clg_Coeff
1
2
3
4
5
6
7
8
9
10
11
12
Tot

## SRES-HtgRes
| Table B20-17. SERIRES/SUNCODE 5.7 Monthly and Total Heating Loads (million Btu) | [23 empty] | Table B20-18. SERIRES/SUNCODE 5.7 Monthly and Total Heating Loads (million Btu)
|  | L100AC | L110AC | L120AC | L130AC | L140AC | L150AC | L155AC | L160AC | L170AC | L200AC | L202AC | L302AC | L302BC | L304AC | L304BC | L322A1 | L322A2 | L322B1 | L322B2 | L324A1 | L324A2 | L324B1 | L324B2 |  | L165AC | P100AC | P105AC | P110AC | P140AC | P150AC
1 | Jan | 13.38 | 17.31 | 10.94 | 9.46 | 9.55 | 11.39 | 11.5 | 14.11 | 15 | 28.72 | 29.22 | 14.96 | 13.92 | 12.72 | 11.94 | 19.07 | 19.23 | 17.76 | 17.78 | 13.59 | 13.68 | 12.23 | 12.41 | Jan | 14.9 | 2.97 | 3.01 | 4.56 | 5.69 | 6.09
2 | Feb | 11.34 | 14.77 | 9.26 | 8.05 | 8.25 | 9.89 | 10.17 | 11.67 | 12.8 | 24.72 | 25.25 | 12.73 | 12.31 | 10.78 | 10.46 | 16.28 | 16.46 | 15.43 | 15.46 | 11.52 | 11.62 | 10.58 | 10.75 | Feb | 12.38 | 2.77 | 2.95 | 4.08 | 4.95 | 5.12
3 | Mar | 10.35 | 13.7 | 8.37 | 7.35 | 7.78 | 9.42 | 10.18 | 10.01 | 11.91 | 23.41 | 24.06 | 11.73 | 11.11 | 9.82 | 9.35 | 15.1 | 15.31 | 14.13 | 14.14 | 10.48 | 10.59 | 9.62 | 9.85 | Mar | 10.64 | 2.57 | 3.44 | 3.83 | 4.62 | 4.26
4 | Apr | 5.94 | 8.08 | 4.69 | 4.07 | 4.5 | 5.86 | 6.59 | 5.4 | 7.22 | 14.4 | 14.93 | 6.88 | 6.09 | 5.66 | 5.12 | 8.88 | 9.12 | 7.95 | 7.91 | 5.93 | 6.04 | 5.45 | 5.69 | Apr | 5.69 | 1.43 | 2.4 | 2.25 | 2.46 | 1.89
5 | May | 2.81 | 4.08 | 2.07 | 1.74 | 2.03 | 2.96 | 3.23 | 2.52 | 3.84 | 7.98 | 8.31 | 3.45 | 2.3 | 2.73 | 1.86 | 4.44 | 4.62 | 3.27 | 3.2 | 2.68 | 2.77 | 2.24 | 2.54 | May | 2.66 | 0.39 | 0.72 | 0.88 | 0.81 | 0.43
6 | Jun | 0.83 | 1.37 | 0.54 | 0.44 | 0.53 | 0.92 | 0.99 | 0.72 | 1.34 | 3.24 | 3.38 | 1.16 | 0.48 | 0.85 | 0.38 | 1.43 | 1.5 | 0.72 | 0.7 | 0.72 | 0.75 | 0.5 | 0.67 | Jun | 0.77 | 0.05 | 0.1 | 0.2 | 0.14 | 0.04
7 | Jul | 0.09 | 0.25 | 0.03 | 0.02 | 0.02 | 0.1 | 0.12 | 0.08 | 0.31 | 0.99 | 1.05 | 0.21 | 0 | 0.11 | 0 | 0.22 | 0.25 | 0 | 0 | 0.05 | 0.05 | 0 | 0.02 | Jul | 0.09 | 0 | 0 | 0 | 0 | 0
8 | Aug | 0.19 | 0.42 | 0.08 | 0.06 | 0.06 | 0.19 | 0.24 | 0.16 | 0.51 | 1.5 | 1.57 | 0.35 | 0 | 0.21 | 0 | 0.39 | 0.44 | 0 | 0 | 0.12 | 0.13 | 0 | 0.06 | Aug | 0.18 | 0 | 0 | 0 | 0 | 0
9 | Sep | 1.47 | 2.23 | 0.98 | 0.78 | 0.93 | 1.31 | 1.5 | 1.39 | 2.19 | 4.7 | 4.85 | 1.91 | 0.64 | 1.47 | 0.39 | 2.38 | 2.45 | 0.63 | 0.61 | 1.3 | 1.35 | 0.36 | 0.85 | Sep | 1.48 | 0 | 0 | 0.14 | 0.13 | 0.01
10 | Oct | 4.1 | 5.73 | 3.07 | 2.6 | 2.98 | 3.45 | 3.66 | 4.15 | 5.28 | 10.62 | 10.91 | 4.91 | 3.37 | 3.99 | 2.68 | 6.23 | 6.38 | 4.04 | 3.92 | 3.95 | 4.04 | 2.48 | 3 | Oct | 4.48 | 0.23 | 0.28 | 0.77 | 1.32 | 0.66
11 | Nov | 9.51 | 12.55 | 7.67 | 6.7 | 7.09 | 7.95 | 8.08 | 10.11 | 11.04 | 21.44 | 21.94 | 10.77 | 9.83 | 9.04 | 8.22 | 13.84 | 14.07 | 12.18 | 12.14 | 9.64 | 9.76 | 7.94 | 8.17 | Nov | 10.87 | 1.29 | 1.33 | 2.79 | 4.13 | 3.85
12 | Dec | 12.38 | 16.04 | 10.12 | 8.71 | 8.76 | 10.59 | 10.64 | 13.19 | 14.02 | 26.62 | 27.08 | 13.86 | 13.05 | 11.78 | 11.19 | 17.68 | 17.85 | 16.28 | 16.24 | 12.6 | 12.69 | 11.05 | 11.29 | Dec | 13.91 | 2.7 | 2.73 | 4.28 | 5.17 | 5.66
| Tot | 72.4 | 96.52 | 57.83 | 49.98 | 52.48 | 64.03 | 66.91 | 73.5 | 85.45 | 168.33 | 172.54 | 82.9 | 73.1 | 69.15 | 61.58 | 105.94 | 107.69 | 92.38 | 92.11 | 72.56 | 73.47 | 62.44 | 65.3 | Tot | 78.04 | 14.4 | 16.97 | 23.79 | 29.42 | 27.99
Seasonal Values: | [24 empty] | Tier 2 Results
Htg_Coeff
1
2
3
4
5
6
7
8
9
10
11
12
Tot

## SRES-ClgRes
| Table B20-19. SERIRES/SUNCODE 5.7 Monthly and Total Sensible Cooling Loads (million Btu) | [11 empty] | Table B20-20. SERIRES/SUNCODE 5.7 Monthly and Total Sensible Cooling Loads (million Btu)
|  | L100AL | L110AL | L120AL | L130AL | L140AL | L150AL | L155AL | L160AL | L170AL | L200AL | L202AL |  | L165AL | P100AC | P105AC | P110AC | P140AC | P150AC
1 | Jan | 0.01 | 0 | 0.02 | 0 | 0 | 1.25 | 0.92 | 0 | 0 | 0 | 0 | Jan | 0 | 0.87 | 0.83 | 2.07 | 0 | 0
2 | Feb | 0.26 | 0.18 | 0.28 | 0.04 | 0 | 2.17 | 1.4 | 0.14 | 0.14 | 0.14 | 0.08 | Feb | 0.05 | 0.25 | 0.19 | 1.39 | 0 | 0
3 | Mar | 1.32 | 1.07 | 1.33 | 0.48 | 0.06 | 3.25 | 1.5 | 1.48 | 0.87 | 0.98 | 0.69 | Mar | 0.92 | 0.07 | 0 | 0.98 | 0 | 0
4 | Apr | 2.35 | 2.08 | 2.3 | 1.21 | 0.37 | 3.14 | 1.23 | 3.35 | 1.66 | 2.05 | 1.62 | Apr | 2.49 | 0.3 | 0.01 | 0.95 | 0 | 0.22
5 | May | 6.46 | 6.66 | 6.03 | 4.16 | 2.27 | 6.1 | 4.78 | 8.35 | 5.18 | 7.77 | 6.88 | May | 7.23 | 0.55 | 0.05 | 1.3 | 0 | 0.64
6 | Jun | 10.31 | 11.26 | 9.42 | 7.07 | 4.8 | 9.43 | 8.67 | 12.38 | 8.76 | 14.01 | 13.03 | Jun | 11.21 | 2.09 | 1.44 | 2.56 | 0.23 | 2.63
7 | Jul | 13.52 | 15.17 | 12.23 | 9.46 | 6.95 | 12.89 | 11.91 | 15.42 | 11.79 | 19.5 | 18.53 | Jul | 14.35 | 3.37 | 2.46 | 3.72 | 0.68 | 3.76
8 | Aug | 12 | 13.3 | 10.95 | 8.33 | 5.91 | 12.36 | 10.19 | 13.49 | 10.32 | 16.78 | 15.85 | Aug | 12.42 | 3.88 | 2.12 | 4.31 | 0.54 | 3.49
9 | Sep | 8.62 | 9.19 | 8.05 | 5.76 | 3.5 | 10.54 | 8.14 | 9.18 | 7.18 | 10.96 | 10.1 | Sep | 8.11 | 4.02 | 2.39 | 4.83 | 0.29 | 2.41
10 | Oct | 4.04 | 3.95 | 3.94 | 2.33 | 0.78 | 7.09 | 5.65 | 3.63 | 3.14 | 4.26 | 3.64 | Oct | 2.75 | 3.54 | 2.91 | 4.83 | 0 | 0.88
11 | Nov | 0.43 | 0.32 | 0.46 | 0.09 | 0 | 2.87 | 2.35 | 0.2 | 0.26 | 0.26 | 0.15 | Nov | 0.05 | 0.78 | 0.73 | 2.31 | 0 | 0
12 | Dec | 0 | 0 | 0 | 0 | 0 | 0.94 | 0.77 | 0 | 0 | 0 | 0 | Dec | 0 | 0.35 | 0.33 | 1.61 | 0 | 0
| Tot | 59.32 | 63.16 | 55.01 | 38.92 | 24.65 | 72.04 | 57.51 | 67.6 | 49.31 | 76.71 | 70.58 | Tot | 59.59 | 20.08 | 13.45 | 30.86 | 1.73 | 14.03
Seasonal Values: | [12 empty] | Tier 2 Results
Clg_Coeff
1
2
3
4
5
6
7
8
9
10
11
12
Tot

## PlotData
Plot data for all charts:
Tier 1 Results:
Heating Absolutes
BLAST 3.0
DOE-2.1E
SRES/SUN 5.7
|  | L302AB | L304AB | L322AB | L324AB
BLAST 3.0, min
BLAST 3.0, max
DOE-2.1E, min
DOE-2.1E, max
SRES/SUN 5.7, min
SRES/SUN 5.7, max
Heating Deltas |  | L110AC-L100AC | L120AC-L100AC | L130AC-L100AC | L140AC-L100AC | L150AC-L100AC | L155AC-L150AC | L160AC-L100AC | L170AC-L100AC | L200AC-L100AC | L202AC-L200AC
BLAST 3.0
DOE-2.1E
SRES/SUN 5.7
|  | L302AB-L100AC | L302AB-L304AB | L322AB-L100AC | L322AB-L324AB | L302AC-L100AC | L302BC-L100AC | L302AC-L304AC | L302BC-L304BC | L322A1-L100AC | L322A2-L100AC | L322B1-L100AC | L322B2-L100AC | L322A1-L324A1 | L322A2-L324A2 | L322B1-L324B1 | L322B2-L324B2
BLAST 3.0, min
BLAST 3.0, max
DOE-2.1E, min
DOE-2.1E, max
SRES/SUN 5.7, min
SRES/SUN 5.7, max
Cooling Absolutes
BLAST 3.0
DOE-2.1E
SRES/SUN 5.7
Cooling Deltas |  | L110AL-L100AL | L120AL-L100AL | L130AL-L100AL | L140AL-L100AL | L150AL-L100AL | L155AL-L150AL | L160AL-L100AL | L170AL-L100AL | L200AL-L100AL | L202AL-L200AL
BLAST 3.0
DOE-2.1E
SRES/SUN 5.7
Tier 2 Results
Heating Absolutes
BLAST 3.0
DOE-2.1E
SRES/SUN 5.7
Heating Deltas |  | L165AC-L160AC | P105AC-P100AC | P110AC-P100AC | P140AC-P100AC | P150AC-P100AC
BLAST 3.0
DOE-2.1E
SRES/SUN 5.7
Cooling Absolutes
BLAST 3.0
DOE-2.1E
SRES/SUN 5.7
Cooling Deltas |  | L165AL-L160AL | P105AC-P100AC | P110AC-P100AC | P140AC-P100AC | P150AC-P100AC
BLAST 3.0
DOE-2.1E
SRES/SUN 5.7

## Season_Coeff
Any day of the year with interpolation
Heating Season Coefficients (based on Julian date) | [8 empty] | not wrapped (+1) |  | wrapped (-1)
First day | Last day | flag = |  | DaysInMo | MoEndJD | include | start-D | end-D | start | end | start | end | Heating_coeff
|  | January | 1 | 31
|  | February | 2 | 28
|  | March | 3 | 31
|  | April | 4 | 30
|  | May | 5 | 31
|  | June | 6 | 30
|  | July | 7 | 31
|  | August | 8 | 31
|  | September | 9 | 30
|  | October | 10 | 31
|  | November | 11 | 30
|  | December | 12 | 31
Cooling Season Coefficients (based on Julian date) | [8 empty] | not wrapped (+1) |  | wrapped (-1)
First day | Last day | flag = |  | DaysInMo | MoEndJD | include | start-D | end-D | start | end | start | end | Cooling_coeff
|  | January | 1 | 31
|  | February | 2 | 28
|  | March | 3 | 31
|  | April | 4 | 30
|  | May | 5 | 31
|  | June | 6 | 30
|  | July | 7 | 31
|  | August | 8 | 31
|  | September | 9 | 30
|  | October | 10 | 31
|  | November | 11 | 30
|  | December | 12 | 31